ACCRÉDITATION SANS FRONTIÈRES · ISO 15189 READY

Quality Policy

Policy

Approved by Director, [ORGANIZATION NAME] [DIRECTOR NAME] ______________________ Date: __________

| Document Code | LAB-P-01-EN |
| --- | --- |
| Title | Quality Policy |
| Edition | 1st Edition |
| Copy # | ___ |
| Effective Date | [EFFECTIVE DATE] |
| Next Review Date | [NEXT REVIEW DATE] |
| Organization | [ORGANIZATION NAME], Georgia |

## Table of Contents

1. Purpose · 2. Scope · 3. Definitions · 4. Policy Statement · 5. Quality Objectives · 6. Communication and Review · 7. Distribution of Responsibilities · 8. Accompanying Documentation

## 1. Purpose

To state the commitment of [ORGANIZATION NAME] to the quality and competence of its laboratory services, consistent with ISO 15189:2022, and to establish the framework within which quality objectives are set, reviewed, and achieved.

## 2. Scope

This policy applies to all pre-examination, examination, and post-examination activities performed by the laboratory, all staff, all sites, and all referral arrangements. It is the top-level document of the quality management system and is referenced by every procedure and SOP in this pack.

## 3. Definitions

- Quality — the degree to which laboratory results are accurate, reliable, timely, and clinically useful for the patient

- Competence — demonstrated ability to apply knowledge and skill to produce valid results

- Impartiality — the absence of bias, pressure, or conflict of interest in producing and reporting results

- Quality objective — a measurable target derived from this policy and reviewed by management

## 4. Policy Statement

The laboratory exists to produce results that clinicians can act on and patients can trust. Every result carries a clinical consequence: a diagnosis made or missed, a treatment started or withheld, a patient reassured or alarmed. The management of [ORGANIZATION NAME] therefore commits to:

- Operate a quality management system that meets ISO 15189:2022 and applicable national regulation, and to maintain it as a working tool rather than a document set

- Ensure every staff member is competent for the work they perform, assessed before independent practice and re-assessed at defined intervals

- Run internal quality control on every examination, participate in external quality assessment for every examination where a scheme exists, and act on every out-of-range result before patient results are released

- Identify every specimen with two patient identifiers at collection and verify identity at every hand-over

- Communicate critical results to the responsible clinician within the time defined in LAB-SOP-19 and document confirmed receipt

- Protect the confidentiality of patient information and the impartiality of laboratory judgement against commercial, financial, or other pressure

- Review the quality management system at management review at least annually, set measurable quality objectives, and provide the resources needed to achieve them

- Investigate every nonconformity, complaint, and incident for its root cause and act to prevent recurrence

- Encourage staff to report errors and near-misses without fear of blame, because an unreported error cannot be corrected

## 5. Quality Objectives

Quality objectives are set annually at management review, recorded in LAB-F-01, and each has a measurable indicator, a target, an owner, and a review date. Current objectives include, at minimum:

| Objective | Indicator | Target |
| --- | --- | --- |
| Pre-examination accuracy | Specimen rejection rate for identification errors | < 0.5% of specimens |
| Examination reliability | Examinations with IQC within limits before release | 100% |
| External performance | EQA results within acceptable limits | ≥ 95% of challenges |
| Turnaround | Routine results reported within defined TAT | ≥ 90% |
| Critical results | Critical results communicated within 30 minutes with confirmed receipt | 100% |
| Staff competence | Staff with current competency assessment for all examinations performed | 100% |

## 6. Communication and Review

This policy is displayed in the laboratory, explained to every new staff member at induction, and acknowledged by signature. It is reviewed at each management review and re-issued when the laboratory's scope, structure, or the standard changes. Any staff member who believes a decision conflicts with this policy is required to raise it with the Quality Manager, and no adverse consequence follows from doing so.

## 7. Distribution of Responsibilities

| Task | Director | Quality Manager | Laboratory Staff |
| --- | --- | --- | --- |
| Approval and issue of this policy | Final | Prepare |  |
| Setting annual quality objectives | Approve | Propose |  |
| Communicating the policy at induction |  | Responsible |  |
| Applying the policy in daily work |  |  | Responsible |
| Raising conflicts with the policy |  | Receive | Responsible |

## 8. Accompanying Documentation

| Code | Title |
| --- | --- |
| LAB-PR-04 | Internal Audit Conduct Procedure |
| LAB-PR-01 | Management Review Procedure |
| LAB-F-01 | Quality Objectives Register |
| LAB-SOP-19 | Critical Results Management |

FREE SAMPLE — This document is a complete, unrestricted sample from the ASF ISO 15189 READY documentation pack, shared so a facility can judge the depth and quality of the full pack before purchase. Replace every [BRACKETED] placeholder with your facility's own details. The full pack contains the complete document set, forms, master index, and clause crosswalk.