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Supports: 26.3
At a glance
· Prepare each concentrate and mix each batch of dialysis fluid to the written procedure.
· Identify each batch with its date, its preparer and its concentration (DIA-FRM-002).
· Check the concentration before the batch is used.
· Do not mix a batch from memory.
· Stop and get help straight away if: a batch of fluid is mixed from memory, with the wrong concentration.
1. Purpose
To make sure every batch of dialysis fluid is prepared to the written procedure and traced (26.3).
2. Scope
	Applies to
	Clinical and support staff in the hospital

	Locations
	All wards, clinics and departments of the facility

	When
	Whenever the activity described is carried out

	Does not apply to
	Activities covered by another document listed in section 15

	
	

	
	

	
	


3. Definitions
	Term
	Meaning

	Clinical lead
	The doctor or nurse in charge of the area at the time

	
	

	
	

	
	


4. Background
Dialysis fluid made with the wrong concentration or in the wrong order can cause a serious event in the patient. Following a written procedure for every batch prevents the error.
5. Responsibilities
	Role
	Responsibility
	Competence

	Dialysis nurse preparing fluid
	Prepares and records each batch
	Clinician

	
	
	

	
	
	

	
	
	


6. Materials and equipment
	Item
	Requirement
	Condition

	Records and forms named in this document
	Current version
	Checked before use

	
	
	

	
	
	

	
	
	


7. Safety
· Stop and call for help if a patient is at immediate risk. Do not delay urgent care to complete paperwork.
8. Before you start
· Confirm the forms and equipment named in this document are available and current.
9. Procedure
Step 1. Follow the procedure.
· Prepare and mix the batch exactly to the written procedure.
Key point: Prepared.
Step 2. Check and label.
· Check the concentration and label the batch with its identity.
Key point: Labelled.
Step 3. Record.
· Record the batch on DIA-FRM-002.
Key point: Recorded.
10. Decision points
· No decision points in this procedure.
11. Special situations
	Situation
	Action

	Out of hours
	Follow the same steps. Use the on-call contact on the wall of the area.

	
	

	
	

	
	


12. Escalation
· Any serious problem goes to the duty clinical lead at once and to the clinical director the same day.
13. Monitoring
	Measure
	Target
	Frequency
	Owner
	If not met

	Batches prepared to the procedure and recorded
	100%
	Monthly
	Dialysis unit lead
	Escalate to medical director

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	


14. Records
	Record
	Kept in
	Retention

	Record named in this document
	Patient record or the area file
	the period set by the facility's records policy years

	
	
	

	
	
	

	
	
	


15. Training
· Staff are trained in this document at induction and refreshed each year, with a recorded competency check.
16. Related documents
	ID
	Title
	Use

	DIA-FRM-002
	Batch preparation record
	Record

	
	
	

	
	
	

	
	
	


17. Evidence
	Reference
	Note

	E-009
	Based on ISO 23500:2019 (fluids for haemodialysis) and the KDIGO Clinical Practice Guideline for Hemodialysis Adequacy (2015 update).

	E-006
	ASF Policy Framework v1.2. Adapted.

	E-009
	ASF Expert Committee consensus.

	
	

	
	

	
	


18. Change history
	Version
	Date
	What changed
	Approval

	1.0
	the date of approval
	First version
	set Expert Committee approval
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