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At a glance
· Laser and light devices are used only by staff trained and signed off for each device.
· Before each treatment the skin type, the device settings and the contraindications are checked and recorded.
· Eye protection is worn by the patient and everyone in the room during treatment.
· Each use is recorded in the device log (DRM-REG-002).
· Stop and get help straight away if: a laser or light device is used by a person not signed off for it, or without eye protection.
1. Purpose
To make sure laser and light devices are used safely, by trained staff, with checks and eye protection (54.3).
2. Scope
	Applies to
	Clinical and support staff in the hospital

	Locations
	All wards, clinics and departments of the facility

	When
	Whenever the activity described is carried out

	Does not apply to
	Activities covered by another document listed in section 15

	
	

	
	

	
	


3. Definitions
	Term
	Meaning

	Clinical lead
	The doctor or nurse in charge of the area at the time

	
	

	
	

	
	


4. Background
To make sure laser and light devices are used safely, by trained staff, with checks and eye protection (54.3).
5. Responsibilities
	Role
	Responsibility
	Competence

	Clinical lead
	Signs off operators and owns the device safety programme
	Hospital director

	Operator
	Checks the patient, sets the device and records the use
	Clinical lead

	
	
	

	
	
	

	
	
	


6. Materials and equipment
	Item
	Requirement
	Condition

	Records and forms named in this document
	Current version
	Checked before use

	
	
	

	
	
	

	
	
	


7. Safety
· Stop and call for help if a patient is at immediate risk. Do not delay urgent care to complete paperwork.
8. Before you start
· Confirm the forms and equipment named in this document are available and current.
9. Procedure
Step 1. Check.
· Check the skin type, contraindications and device settings before each treatment.
Key point: Checked.
Step 2. Protect.
· Give eye protection to the patient and everyone in the room.
Key point: Protected.
Step 3. Record.
· Record each use in the device log (DRM-REG-002).
Key point: Recorded.
10. Decision points
· No decision points in this procedure.
11. Special situations
	Situation
	Action

	Out of hours
	Follow the same steps. Use the on-call contact on the wall of the area.

	
	

	
	

	
	


12. Escalation
· Any serious problem goes to the duty clinical lead at once and to the clinical director the same day.
13. Monitoring
	Measure
	Target
	Frequency
	Owner
	If not met

	Uses by a signed-off operator
	100%
	Monthly
	Clinical lead
	Stop the device for that operator

	Uses with eye protection and checks recorded
	100%
	Monthly
	Clinical lead
	Retrain and re-audit

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	


14. Records
	Record
	Kept in
	Retention

	Record named in this document
	Patient record or the area file
	the period set by the facility's records policy years

	
	
	

	
	
	

	
	
	


15. Training
· Staff are trained in this document at induction and refreshed each year, with a recorded competency check.
16. Related documents
	ID
	Title
	Use

	DRM-REG-002
	Laser and light device use log
	Register

	AES-FRM-001
	Aesthetic procedure consent and reconsideration record (existing, reused)
	Record

	
	
	

	
	
	

	
	
	


17. Evidence
	Reference
	Note

	E-006
	ASF Policy Framework v1.2. Adapted.

	E-009
	ASF Expert Committee consensus.

	
	

	
	

	
	


18. Change history
	Version
	Date
	What changed
	Approval

	1.0
	the date of approval
	First version
	set Expert Committee approval
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