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Standards › Standard 2B › Forms
Form · EQP-FRM-001 · Version 1.1 · Approved by the ASF Expert Committee
Supports: 2B.4
Purpose
Records the attachment and release of an out-of-use tag on a faulty device.
How to complete
· Attach the tag to the device at once when a fault is found.
· Complete the fault details.
· Only the engineer completes the release section.
Checks
	Check
	Entry

	Device identified by ID and location
	Yes [EC]

	Fault described
	Yes [EC]

	Tag attached at once
	Yes [EC]

	Engineer repaired and tested
	Yes or N/A [EC]

	Release recorded by engineer
	Yes or N/A [EC]

	
	

	
	

	
	


Evidence
	Reference
	Note

	E-009
	ASF Expert Committee consensus.

	
	

	
	

	
	


Change history
	Version
	Date
	What changed
	Approval

	1.0
	the date of approval
	First version
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