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Supports: System S1 (Hospital), criterion S1.21
At a glance
· Check the resuscitation trolley or bag at the start of every shift.
· Check every item on the list, including the defibrillator.
· Replace any missing or faulty item at once.
· Check that life support certification is current.
· Stop and get help straight away if: a resuscitation trolley is missing a key item and no replacement is found.
1. Purpose
To make sure resuscitation equipment is ready at every moment (S1.21).
2. Scope
	Applies to
	Clinical and support staff in the hospital

	Locations
	All wards, clinics and departments of the facility

	When
	Whenever the activity described is carried out

	Does not apply to
	Activities covered by another document listed in section 15

	
	

	
	

	
	


3. Definitions
	Term
	Meaning

	Clinical lead
	The doctor or nurse in charge of the area at the time

	
	

	
	

	
	


4. Background
When a patient stops breathing, minutes matter. Equipment that is missing or broken, or staff without current life-support training, cost lives.
5. Responsibilities
	Role
	Responsibility
	Competence

	Nurse in charge
	Checks the trolley each shift and signs
	Trained

	Biomedical engineer
	Tests the defibrillator and monitors
	Biomedical

	
	
	

	
	
	

	
	
	


6. Materials and equipment
	Item
	Requirement
	Condition

	Resuscitation trolley checklist
	Current
	On the trolley

	Defibrillator with self-test
	Working
	Checked daily

	
	
	

	
	
	

	
	
	


7. Safety
· Stop and call for help if a patient is at immediate risk. Do not delay urgent care to complete paperwork.
8. Before you start
· Confirm the forms and equipment named in this document are available and current.
9. Procedure
Step 1. Check.
· Go through the checklist item by item.
· Check the defibrillator self-test.
Key point: Every item, every shift.
Step 2. Replace.
· Replace any missing or faulty item from the store at once.
Key point: Do not wait for the next delivery.
Step 3. Record.
· Sign the daily record (HOS-FRM-013).
Key point: The signature is the proof.
10. Decision points
· No decision points in this procedure.
11. Special situations
	Situation
	Action

	Out of hours
	Follow the same steps. Use the on-call contact on the wall of the area.

	
	

	
	

	
	


12. Escalation
· Any serious problem goes to the duty clinical lead at once and to the clinical director the same day.
13. Monitoring
	Measure
	Target
	Frequency
	Owner
	If not met

	Shifts with recorded check
	At least 70%
	Monthly
	Nurse manager
	Escalate to clinical director

	Staff with current life support certificate
	At least 70%
	Monthly
	Clinical governance lead
	Escalate to chief executive

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	


14. Records
	Record
	Kept in
	Retention

	Record named in this document
	Patient record or the area file
	the period set by the facility's records policy years

	
	
	

	
	
	

	
	
	


15. Training
· Staff are trained in this document at induction and refreshed each year, with a recorded competency check.
16. Related documents
	ID
	Title
	Use

	HOS-FRM-013
	Daily resuscitation check record
	Record

	
	
	

	
	
	

	
	
	


17. Evidence
	Reference
	Note

	E-009
	Checklist to be set by the resuscitation committee.

	E-006
	ASF Policy Framework v1.2. Adapted.

	E-009
	ASF Expert Committee consensus.

	
	

	
	

	
	


18. Change history
	Version
	Date
	What changed
	Approval

	1.0
	the date of approval
	First version
	set Expert Committee approval

	
	
	
	

	
	
	
	

	
	
	
	


No e-learning course is linked to this document yet.
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