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Standards › Standard 2 › Forms
Form · SRG-FRM-003 · Version 1.0 · Approved by the ASF Expert Committee
Supports: 2.2
Purpose
The daily check of the anaesthetic machine, monitors, suction and emergency airway equipment before the first case.
How to complete
· Complete before the first case of each list.
· Report any fault and take the machine out of use.
· Sign the check.
Checks
	Check
	Entry

	Machine leak test passed
	Yes

	Oxygen supply and reserve cylinder checked
	Yes

	Monitors switched on and alarms tested
	Yes

	Suction working
	Yes

	Airway equipment and difficult airway trolley checked
	Yes

	Drugs and emergency drugs checked
	Yes

	Checked by and time
	Yes

	
	

	
	

	
	


Evidence
	Reference
	Note

	E-009
	Based on the ASA Standards for Basic Anesthetic Monitoring (2020).

	E-006
	ASF Policy Framework v1.2. Adapted.

	E-009
	ASF Expert Committee consensus.
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