ACCRÉDITATION SANS FRONTIÈRES · ISO 9001 READY

Emergency Preparedness

Standard Operating Procedure

Approved by Director, [ORGANIZATION NAME] [DIRECTOR NAME] ______________________ Date: __________

| Document Code | CC-01-EN |
| --- | --- |
| Title | Emergency Preparedness |
| Edition | 1st Edition |
| Copy # | ___ |
| Effective Date | [EFFECTIVE DATE] |
| Next Review Date | [NEXT REVIEW DATE] |
| Organization | [ORGANIZATION NAME], Georgia |
| Language Pair | Full parallel version of CC-01-KA — same content, not a summary |

# Table of Contents

1. Purpose · 2. Scope · 3. Definitions and Abbreviations

4. General Provisions · 5. Distribution of Responsibilities

6. Determining Emergency Equipment Needs · 7. Placement and Access

8. Maintenance Schedule · 9. Special Considerations

10. Process Effectiveness Indicators (KPI) · 11. Accompanying Documentation

12. Approval Sheet · References

# 1. Purpose

To ensure [ORGANIZATION NAME] is genuinely equipped and staff genuinely prepared to respond to a medical emergency occurring on-site, with equipment specifically determined for this clinic's own scope of practice — not a generic or hospital-derived list [1–2].

# 2. Scope

This SOP applies to emergency equipment and response readiness across every treatment area at [ORGANIZATION NAME], including general consultation, the laboratory/draw station, the oncology infusion area, and pediatric care.

# 3. Definitions and Abbreviations

•  Documented determination — a written, medical-director-approved decision on exactly which emergency equipment and medications this clinic stocks, based on its own real scope of practice, not a template [1–2]

•  AED — Automated External Defibrillator

# 4. General Provisions

An outpatient clinic is not a hospital, and copying a hospital emergency-cart list creates two real, distinct problems: it stocks controlled or prescription-only medications the clinic typically lacks the medical oversight, storage security, or trained staff to administer safely, and it omits categories this specific clinic actually needs, since those categories were never a hospital cart's purpose [1]. Most outpatient clinics are not required to have something specifically called a “crash cart” — what is genuinely required is a documented, written determination by the medical director and governing body of exactly what equipment this clinic needs, with personnel trained on that specific equipment [1–2].

# 5. Distribution of Responsibilities

| Task | Director | Medical Director | Nursing Staff | Quality Manager |
| --- | --- | --- | --- | --- |
| Approval of this SOP | Final |  |  |  |
| Equipment/medication determination (Section 6) |  | Responsible |  |  |
| Daily/shift visual check |  |  | Responsible |  |
| Monthly inventory check |  |  | Responsible |  |
| Annual drill coordination |  |  |  | Responsible |

# 6. Determining Emergency Equipment Needs

[ORGANIZATION NAME]'s medical director and governing body determine, in writing, the specific emergency equipment and medications this clinic stocks, based on the clinic's actual scope of practice — general consultation, oncology infusion, laboratory, and pediatric care — not a generic template [1–2]. This determination specifically considers the clinic's own highest-acuity activities.

Anything beyond the basic, universally applicable equipment is a medical-director decision specific to this clinic's own scope of practice, not a default inclusion copied from another facility type [1].

# 7. Placement and Access

•  Emergency equipment is reachable from every treatment area on a short walk, never behind a door that can be locked or obstructed [1]

•  Placement is ideally near the clinic's highest-acuity activity — for [ORGANIZATION NAME], this includes the oncology infusion area [1]

•  Location is clearly signed, so any staff member can locate it without hesitation during an actual emergency

# 8. Maintenance Schedule

| Frequency | Check |
| --- | --- |
| Every shift/day | Brief visual check — seal intact, AED shows ready [1] |
| Monthly | Thorough inventory check against expiration dates [1] |
| Annually, minimum | Hands-on or tabletop drill, so staff locate and use equipment under time pressure without it being their first encounter with it [1] |

Sealed trays are used to identify at a glance whether a tray has been used or tampered with since its last check — a real, recommended practice, not merely a convenience [3].

# 9. Special Considerations

•  The oncology infusion area's proximity to emergency equipment is treated as a priority, given the real, elevated risk profile of infusion reactions

•  Pediatric-specific emergency equipment sizing is included in the documented determination where pediatric care is part of the clinic's scope

# 10. Process Effectiveness Indicators (KPI)

•  Daily/shift check completion rate

•  Monthly inventory check completion, with expired items replaced promptly

•  Annual drill completion and staff confidence, assessed post-drill

# 11. Accompanying Documentation

| Code | Title |
| --- | --- |
| ONC-02 | Extravasation Management |
| SOP-PS-02 | Clinical Incident & Adverse Event Reporting |
| GOV-01 | Nonconformity & Corrective Action |

# 12. Approval Sheet

| Role | Date | Signature |
| --- | --- | --- |
| Prepared by: [MEDICAL DIRECTOR NAME] | ___________ | ___________ |
| Agreed by: [QUALITY MANAGER NAME] | ___________ | ___________ |

References

[1] CASRAI. Clinic Emergency Response Cart Checklist — CMS 42 CFR 416.44(d) documented determination requirement, outpatient vs. hospital cart distinction. 2026.

[2] AAFP (FPM). A Practical Guide to Emergency Preparedness for Office-Based Family Physicians.

[3] Inner Space Healthcare. Organizing A Crash Cart — Joint Commission 2017 sealed-tray recommendation. 2026.