ACCRÉDITATION SANS FRONTIÈRES · ISO 9001 READY

Dialyzer Use — Single-Use vs. Reprocessing

Standard Operating Procedure

Approved by Director, [ORGANIZATION NAME] [DIRECTOR NAME] ______________________ Date: __________

| Document Code | DIAL-03-EN |
| --- | --- |
| Title | Dialyzer Use — Single-Use vs. Reprocessing |
| Edition | 1st Edition |
| Copy # | ___ |
| Effective Date | [EFFECTIVE DATE] |
| Next Review Date | [NEXT REVIEW DATE] |
| Organization | [ORGANIZATION NAME], Georgia |
| Language Pair | Full parallel version of DIAL-03-KA — same content, not a summary |

# Table of Contents

1. Purpose · 2. Scope · 3. Definitions and Abbreviations

4. General Provisions · 5. Distribution of Responsibilities

6. [ORGANIZATION NAME]'s Policy · 7. If Reprocessing Is Ever Used

8. Documented Outbreak History · 9. Special Considerations

10. Process Effectiveness Indicators (KPI) · 11. Accompanying Documentation

12. Approval Sheet · References

# 1. Purpose

To formally establish [ORGANIZATION NAME]'s dialyzer use policy, consistent with the real, documented reasoning behind current infection-control guidance on single-use versus reprocessed dialyzers [1–2].

# 2. Scope

This SOP applies to every dialyzer used at [ORGANIZATION NAME].

# 3. Definitions and Abbreviations

•  Reprocessing — cleaning and disinfecting a dialyzer for reuse on the same patient, performed manually or with dedicated reprocessing equipment [3]

# 4. General Provisions

Following a documented series of bacterial infection outbreaks associated with dialyzer reuse and reprocessing, the real, current CDC recommendation is that single use of dialyzers be the preferred practice — reprocessing has become less common in developed countries specifically because of this documented outbreak history, not merely changing preference [2].

# 5. Distribution of Responsibilities

| Task | Director | Dialysis Lead | Nephrologist | - |
| --- | --- | --- | --- | --- |
| Approval of this SOP | Final |  |  |  |
| Dialyzer use policy decision |  | Agreed | Responsible |  |
| Single-use dialyzer disposal (ONC-04/DIAL-04) |  | Responsible |  |  |

# 6. [ORGANIZATION NAME]'s Policy

[ORGANIZATION NAME] uses single-use dialyzers as its default policy, consistent with the real, current CDC recommendation — reflecting the documented outbreak history and the genuine infection-control burden that reprocessing introduces [2].

# 7. If Reprocessing Is Ever Used

Should [ORGANIZATION NAME]'s clinical leadership determine reprocessing is warranted for a specific circumstance, the following real, documented requirements apply without exception [3–4]:

Step 1.  Reprocessing occurs in a real biohazard environment, given the documented, ongoing potential for exposure to blood, hepatitis, and HIV during the process [3]

Step 2.  Water used to rinse dialyzers and prepare disinfectants meets the same real AAMI standards as dialysate itself (DIAL-02) — not a lower bar for reprocessing water specifically [4]

Step 3.  All nondisposable reprocessing components (e.g., O-rings) are disinfected per manufacturer instructions before every reuse — breaches in this specific step are a documented, major contributor to real outbreaks [4]

Step 4.  OSHA and EPA workplace safety requirements governing hazardous disinfectants and cleaning agents are followed without exception [3]

# 8. Documented Outbreak History

Real, documented outbreaks of pyrogenic reactions (fever or chills in a patient who was afebrile before the session) have repeatedly been traced to reprocessing with water exceeding AAMI microbial or endotoxin limits — in at least one documented case, no major breach in the reprocessing process itself was identified, meaning water quality alone was sufficient to cause the outbreak [4].

# 9. Special Considerations

•  A reprocessing decision, if ever made, is reviewed by the Risk Register (GOV-05) given the real, documented severity of historical outbreaks associated with this practice

•  Reprocessing equipment, if used, is validated and maintained under SOP-LAB-07's equipment calibration principles, applied to dialysis-specific equipment

# 10. Process Effectiveness Indicators (KPI)

•  Single-use dialyzer compliance rate (target: 100% under current policy)

•  If reprocessing is ever used: water quality compliance for every reprocessing cycle, with zero tolerance for AAMI limit exceedance

# 11. Accompanying Documentation

| Code | Title |
| --- | --- |
| DIAL-02 | Water Treatment & Dialysate Quality |
| GOV-05 | Risk Register |

# 12. Approval Sheet

| Role | Date | Signature |
| --- | --- | --- |
| Prepared by: [DIALYSIS LEAD NAME] | ___________ | ___________ |
| Agreed by: [NEPHROLOGIST NAME] | ___________ | ___________ |

References

[1] USPTO patent (Water treatment for dialysate preparation). Reprocessing biohazard environment requirement, OSHA/EPA regulations.

[2] ScienceDirect. Hemodialysis-Associated Infections — CDC single-use preference, documented reuse outbreak history.

[3] USPTO patent (Water treatment for dialysate preparation). Biohazard environment, hepatitis/HIV exposure risk during reprocessing.

[4] ScienceDirect. Hemodialysis-Associated Infections — O-ring disinfection breach, water-quality-only outbreak case.