ACCRÉDITATION SANS FRONTIÈRES · ISO 9001 READY

Result Reporting, Verification & Amendment

Standard Operating Procedure

Approved by Director, [ORGANIZATION NAME] [DIRECTOR NAME] ______________________ Date: __________

| Document Code | SOP-LAB-09-EN |
| --- | --- |
| Title | Result Reporting, Verification & Amendment |
| Edition | 1st Edition |
| Copy # | ___ |
| Effective Date | [EFFECTIVE DATE] |
| Next Review Date | [NEXT REVIEW DATE] |
| Organization | [ORGANIZATION NAME], Georgia |
| Language Pair | Full parallel version of SOP-LAB-09-KA — same content, not a summary |

# Table of Contents

1. Purpose · 2. Scope · 3. Definitions and Abbreviations

4. General Provisions · 5. Distribution of Responsibilities

6. Result Verification and Release · 7. Amendment Process

8. Notification — Naming Exactly Who · 9. Special Considerations

10. Process Effectiveness Indicators (KPI) · 11. Accompanying Documentation

12. Approval Sheet · References

# 1. Purpose

To ensure every routine laboratory result at [ORGANIZATION NAME] is verified before release, and that any subsequent correction is handled in a way that genuinely reaches the clinician who needs it — this SOP governs ordinary result release and correction, distinct from the urgent-escalation process for critical values [1–2].

# 2. Scope

This SOP applies to every laboratory result released at [ORGANIZATION NAME], and to every correction made to a result after its initial release, regardless of cause.

# 3. Definitions and Abbreviations

•  Amended/corrected report — a revised report issued after an error is detected in a previously released result, clearly marked as corrected, with the original retained alongside it — never simply overwritten [1, 3]

# 4. General Provisions

A real, documented finding: amended laboratory results are rare, occurring in roughly 0.3% of reports, but approximately 30% of amendments actually lead to a change in patient care — amendment is a genuine clinical event, not paperwork [4]. A real, instructive case: a hospital's amendment policy required notifying the inpatient unit but did not specifically require notifying the ordering physician — the physician was never told, and a patient with a worsening condition nearly went home before the correction was caught [4]. This SOP exists specifically to close that kind of gap.

# 5. Distribution of Responsibilities

| Task | Director | Lab Lead | Technologist | - |
| --- | --- | --- | --- | --- |
| Approval of this SOP | Final |  |  |  |
| Result verification before release |  | Agreed | Responsible |  |
| Amendment issuance |  | Responsible | Responsible |  |
| Direct notification of the ordering clinician |  |  | Responsible |  |
| Amendment pattern review |  | Responsible |  |  |

# 6. Result Verification and Release

•  A result is reviewed and verified before release, not released automatically on completion of the analytical run

•  A result from a specimen of inadequate quality that was still tested is released with an explicit note that it should be interpreted with caution and may be less reliable — not released as if it were a routine, fully reliable result [5]

# 7. Amendment Process

The federal standard is explicit: both the original report and the corrected report are retained — the corrected result never simply overwrites or erases the original [3, 6].

Step 1.  When an error in a previously reported result is detected, promptly notify the ordering clinician — not a general unit or department, but the specific person who ordered the test and will act on the result [3, 4]

Step 2.  Issue a corrected report, clearly marked “corrected” or “revised,” with the original result retained and both clearly identified as such [6]

Step 3.  Document the reason for the correction and the date, time, and identity of the person making it [7]

Step 4.  Where multiple sequential corrections occur for the same result, all corrections are referenced in the patient record — not only the most recent one [6]

# 8. Notification — Naming Exactly Who

Notification policy names the ordering clinician specifically, not a department or unit as a substitute — the real case in Section 4 exists precisely because a policy that satisfied its own wording (“notify the unit”) still failed the patient, because the individual responsible for acting on the result was never told [4].

•  If an incorrect result caused material harm, the patient is also informed, in addition to the ordering clinician — not only an internal correction [7]

# 9. Special Considerations

•  A pattern of amendments traced to the same cause (a specific instrument, reagent lot, or technologist) is escalated to the Nonconformity procedure (GOV-01), not treated as isolated incidents each time

•  Amendment records are retained per the Records & Forms Index alongside the original result, both available together, not separately archived

# 10. Process Effectiveness Indicators (KPI)

•  Time from error detection to clinician notification

•  Amendment rate, tracked as a real quality indicator, not merely logged

•  Amendments correctly retaining both original and corrected reports (target: 100%)

# 11. Accompanying Documentation

| Code | Title |
| --- | --- |
| GOV-01 | Nonconformity & Corrective Action |
| SOP-LAB-02 | Laboratory Internal QC |

# 12. Approval Sheet

| Role | Date | Signature |
| --- | --- | --- |
| Prepared by: [LAB LEAD NAME] | ___________ | ___________ |
| Agreed by: [QUALITY MANAGER NAME] | ___________ | ___________ |

References

[1] UC Santa Cruz Student Health Center. Amended Laboratory Report Policy.

[2] WHO Laboratory Quality Stepwise Implementation. Write SOP for Recording, Reporting and Archiving Results.

[3] eCFR. 42 CFR § 493.1291(k) — Standard: Test report — error notification and duplicate retention requirement.

[4] AHRQ PSNet. Amended Lab Results: A Communication Slip — 30% patient-care-change statistic, real case study.

[5] WHO Laboratory Quality Stepwise Implementation. Reporting of results of samples of inadequate quality.

[6] CAP. Good Laboratory Decisions for Better Patient Care — corrected report marking, retained original data.

[7] National Cancer Institute (ccrod.cancer.gov). Correction of Records and Results policy — multiple sequential corrections, patient notification for material harm.