ACCRÉDITATION SANS FRONTIÈRES · ISO 9001 READY

Laboratory Biosafety & Biohazardous Waste

Standard Operating Procedure

Approved by Director, [ORGANIZATION NAME] [DIRECTOR NAME] ______________________ Date: __________

| Document Code | SOP-LAB-10-EN |
| --- | --- |
| Title | Laboratory Biosafety & Biohazardous Waste |
| Edition | 1st Edition |
| Copy # | ___ |
| Effective Date | [EFFECTIVE DATE] |
| Next Review Date | [NEXT REVIEW DATE] |
| Organization | [ORGANIZATION NAME], Georgia |
| Language Pair | Full parallel version of SOP-LAB-10-KA — same content, not a summary |

# Table of Contents

1. Purpose · 2. Scope · 3. Definitions and Abbreviations

4. General Provisions · 5. Distribution of Responsibilities

6. Waste Streams and Segregation · 7. Microbiology Culture Waste

8. Manifest and Documentation · 9. Special Considerations

10. Process Effectiveness Indicators (KPI) · 11. Accompanying Documentation

12. Approval Sheet · References

# 1. Purpose

To ensure every biohazardous material generated in [ORGANIZATION NAME]'s laboratory is correctly segregated, contained, and disposed of, consistent with OSHA's Bloodborne Pathogens Standard [1–2]. This SOP is distinct from ONC-04, which governs cytotoxic (chemotherapy) waste only — ordinary blood and OPIM waste, the routine daily output of any laboratory, is governed here.

# 2. Scope

This SOP applies to blood, other potentially infectious materials (OPIM), microbiology cultures, and any material contaminated with these, generated anywhere in [ORGANIZATION NAME]'s laboratory operations.

# 3. Definitions and Abbreviations

•  OPIM (Other Potentially Infectious Materials) — body fluids and materials beyond blood itself that carry the same real transmission risk under OSHA's standard [3]

•  Regulated medical waste — the real legal term for biohazardous waste; not all laboratory waste meets this definition — most laboratory waste is genuinely non-hazardous and does not require special handling [4]

# 4. General Provisions

Waste is segregated at the point of generation — the moment it is created, not later during collection — and this timing is itself a real, specific OSHA and state regulatory requirement, not a convenience [3].

Mixing waste streams is one of the most common real compliance mistakes: placing a formalin-contaminated item into a red-bag biohazard container, for example, creates a hazardous-waste violation and dramatically increases disposal cost — this is a genuine, documented, frequent error, not a theoretical risk [3].

# 5. Distribution of Responsibilities

| Task | Director | Lab Lead | Technologist | Waste Contractor |
| --- | --- | --- | --- | --- |
| Approval of this SOP | Final |  |  |  |
| Annual bloodborne pathogens training |  | Responsible |  |  |
| Point-of-generation segregation |  |  | Responsible |  |
| Manifest retention |  | Responsible |  |  |
| Collection, transport, disposal |  |  |  | Responsible |

# 6. Waste Streams and Segregation

| Waste Category | Container | Examples |
| --- | --- | --- |
| Regulated medical/biohazard waste | Red bag | Blood, OPIM, cultures, materials soaked/saturated with blood or OPIM [1, 5] |
| Sharps | Puncture-resistant container | Needles, lancets, broken glass, slides — never in a bag [1] |
| Chemical waste | Separate, never red bag | Fixatives, stains, solvents — mixing with biohazard waste is a real, documented violation [3] |
| Regular trash | Standard | Most laboratory waste — non-contaminated items meeting no regulated definition [4] |

Containers meet real puncture-resistance and leak-proof standards (ASTM D1709 or equivalent), and display the fluorescent orange/red-orange biohazard symbol or are entirely red-colored [3, 6].

# 7. Microbiology Culture Waste

Microbiology cultures and stocks of infectious agents are explicitly biohazardous waste, requiring red-bag containment [1]. Real biosafety-level guidance distinguishes decontamination requirements by BSL: BSL-1/2 laboratories (most clinical/diagnostic labs, including [ORGANIZATION NAME]'s) may decontaminate waste on-site or via an approved off-site process; BSL-3 decontaminates before disposal, and materials from BSL-4 are decontaminated before leaving the laboratory at all [7].

# 8. Manifest and Documentation

•  A licensed medical waste hauler provides a manifest (tracking document) with every regulated waste pickup, accompanying the shipment from generation through final disposal [4]

•  Manifests are retained for a minimum of 3 years — and the real, documented rule is that an inability to produce a manifest during inspection is itself a violation, regardless of whether the waste was actually disposed of properly [4]

# 9. Special Considerations

•  Annual bloodborne pathogens training is documented for every staff member with occupational exposure, covering waste handling, PPE, and exposure incident response — not a one-time orientation topic [3]

•  The biohazard waste contractor is evaluated as a Critical Supplier under CC-02, consistent with the hazardous waste contractor already established under ONC-04

# 10. Process Effectiveness Indicators (KPI)

•  Waste stream segregation accuracy, verified during audit

•  Manifest retention completeness (target: 100%, 3-year minimum)

•  Annual bloodborne pathogens training completion rate

# 11. Accompanying Documentation

| Code | Title |
| --- | --- |
| ONC-04 | Cytotoxic Waste Disposal |
| CC-02 | Supplier Evaluation |
| SOP-IPC-08 | Sharps Safety |

# 12. Approval Sheet

| Role | Date | Signature |
| --- | --- | --- |
| Prepared by: [LAB LEAD NAME] | ___________ | ___________ |
| Agreed by: [QUALITY MANAGER NAME] | ___________ | ___________ |

References

[1] Today's Clinical Lab. A Lab's Guide to Safe and Compliant Medical Waste Disposal. 2025.

[2] Healthcare Compliance Pros. OSHA and Biohazard Waste Disposal: A Compliance Guide.

[3] Red Bags. Lab Waste Disposal: Guidelines for Clinical Laboratories — point-of-generation segregation, stream-mixing violation, manifest retention. 2026.

[4] MedPro Disposal. How to Manage Blood, Culture Media, and Pathological Specimens Under CLIA and OSHA Standards — most waste non-hazardous, manifest violation rule. 2026.

[5] EasyRxCycle. Biohazardous Waste Disposal for Healthcare Facilities: A Complete Guide by State. 2025.

[6] HMWS Corp. Biohazard Bag Colors Explained — OSHA 29 CFR 1910.1030 color-coding requirement. 2026.

[7] CDC. Regulated Medical Waste, Infection Control — biosafety-level decontamination requirements.