ACCRÉDITATION SANS FRONTIÈRES · ISO 9001 READY

Molecular (PCR) Testing

Standard Operating Procedure

Approved by Director, [ORGANIZATION NAME] [DIRECTOR NAME] ______________________ Date: __________

| Document Code | SOP-LAB-13-EN |
| --- | --- |
| Title | Molecular (PCR) Testing |
| Edition | 1st Edition |
| Copy # | ___ |
| Effective Date | [EFFECTIVE DATE] |
| Next Review Date | [NEXT REVIEW DATE] |
| Organization | [ORGANIZATION NAME], Georgia |
| Language Pair | Full parallel version of SOP-LAB-13-KA — same content, not a summary |

# Table of Contents

1. Purpose · 2. Scope · 3. Definitions and Abbreviations

4. General Provisions · 5. Distribution of Responsibilities

6. Physical Separation and Unidirectional Workflow · 7. Closed vs. Open Systems

8. Contamination Monitoring · 9. Special Considerations

10. Process Effectiveness Indicators (KPI) · 11. Accompanying Documentation

12. Approval Sheet · References

# 1. Purpose

To ensure molecular/PCR testing at [ORGANIZATION NAME] is performed with real, effective contamination control, since amplicon carryover contamination is the documented, primary threat to result accuracy in PCR-based diagnostics [1–2].

# 2. Scope

This SOP applies to every molecular/PCR test performed at [ORGANIZATION NAME], whether run on an open-tube system or a closed cartridge-based platform.

# 3. Definitions and Abbreviations

•  Amplicon carryover contamination — previously amplified DNA product contaminating a new reaction, producing a false positive result — the primary, documented threat unique to PCR-based testing, unlike any other laboratory method [1–2]

•  Unidirectional workflow — a one-way physical movement of materials and personnel through the PCR process, structured so contamination genuinely cannot flow backward [3]

# 4. General Provisions

Both directions of PCR error carry real, distinct harm: a false positive causes real harm to the individual patient through incorrect diagnosis or treatment, while a false negative can result in inadequate precautions and increased disease transmission — contamination control is not merely an accuracy concern in the abstract, it has genuine consequences on both sides [1–2].

# 5. Distribution of Responsibilities

| Task | Director | Lab Lead | Technologist | - |
| --- | --- | --- | --- | --- |
| Approval of this SOP | Final |  |  |  |
| Workflow zone design and signage |  | Responsible |  |  |
| Daily adherence to unidirectional workflow |  |  | Responsible |  |
| Contamination monitoring (negative controls) |  | Agreed | Responsible |  |
| Investigating a contamination event |  | Responsible |  |  |

# 6. Physical Separation and Unidirectional Workflow

This is a real, absolute rule, not a preference: workflow moves in one direction only — Reagent Preparation → Sample Preparation → Amplification — and a previously processed tube is never returned to a preceding area. A technologist who has worked in the post-amplification area does not go back to work in a pre-amplification area, even briefly [3].

| Area | Purpose | Movement Rule |
| --- | --- | --- |
| Reagent Preparation | Master mix and reagent handling, before any specimen is introduced | Never receives material from either downstream area [3] |
| Sample Preparation | Specimen processing, nucleic acid extraction | Receives from Reagent Prep only; never receives from Amplification [3] |
| Amplification/Detection | PCR reaction and result reading | Receives from Sample Prep only; nothing returns from here [3] |

Dedicated equipment, supplies, and where feasible, dedicated lab coats remain in their assigned area — they do not travel between zones with staff [3].

# 7. Closed vs. Open Systems

Automated, closed-cartridge systems with real-time amplification and simultaneous detection substantially reduce carryover contamination risk compared to older open-tube methods, since the amplified product never leaves a sealed environment — where [ORGANIZATION NAME] uses a closed system, this materially reduces (but does not eliminate) the real risk this SOP addresses [4].

# 8. Contamination Monitoring

Step 1.  A negative control (no-template control) is run with every batch, to detect contamination that has genuinely entered the workflow

Step 2.  An unexpected positive in a negative control is investigated as a real contamination event, not dismissed as a technical anomaly — testing is paused for the affected batch until the cause is identified

Step 3.  Environmental monitoring (e.g., surface or air sampling in the amplification area) is performed periodically where feasible, consistent with the real principle that contamination can accumulate silently over time [1]

# 9. Special Considerations

•  Personnel competency for molecular testing specifically addresses pipetting technique to prevent aerosol generation and adherence to the unidirectional workflow, per SOP-LAB-11 — not assessed identically to non-molecular testing

•  A genotypic (molecular) resistance result that disagrees with a phenotypic susceptibility result from microbiology testing (SOP-LAB-12) is reported with the discordance noted, not silently reconciled in favor of one result

# 10. Process Effectiveness Indicators (KPI)

•  Negative control failure rate, tracked as the real indicator of contamination control effectiveness

•  Unidirectional workflow adherence, verified during internal audit (GOV-02)

•  Contamination events investigated to a documented root cause

# 11. Accompanying Documentation

| Code | Title |
| --- | --- |
| SOP-LAB-11 | Laboratory Personnel Competency Assessment |
| SOP-LAB-12 | Clinical Microbiology Testing |
| GOV-01 | Nonconformity & Corrective Action |

# 12. Approval Sheet

| Role | Date | Signature |
| --- | --- | --- |
| Prepared by: [LAB LEAD NAME] | ___________ | ___________ |
| Agreed by: [QUALITY MANAGER NAME] | ___________ | ___________ |

References

[1] PMC. Carryover Contamination-Controlled Amplicon Sequencing Workflow — false-positive/false-negative harm framing. 2023.

[2] Journals ASM (Microbiology Spectrum). Carryover Contamination-Controlled Amplicon Sequencing Workflow.

[3] RapidMicrobiology. The Devil in the Details: Contamination in a PCR Lab — three-room separation, unidirectional workflow rule. 2021.

[4] Aslanzadeh J. Preventing PCR Amplification Carryover Contamination in a Clinical Laboratory. Ann Clin Lab Sci, 2004.