ACCRÉDITATION SANS FRONTIÈRES · ISO 9001 READY

Test Menu & Scope of Testing

Standard Operating Procedure

Approved by Director, [ORGANIZATION NAME] [DIRECTOR NAME] ______________________ Date: __________

| Document Code | SOP-LAB-14-EN |
| --- | --- |
| Title | Test Menu & Scope of Testing |
| Edition | 1st Edition |
| Copy # | ___ |
| Effective Date | [EFFECTIVE DATE] |
| Next Review Date | [NEXT REVIEW DATE] |
| Organization | [ORGANIZATION NAME], Georgia |
| Language Pair | Full parallel version of SOP-LAB-14-KA — same content, not a summary |

# Table of Contents

1. Purpose · 2. Scope · 3. Definitions and Abbreviations

4. General Provisions · 5. Distribution of Responsibilities

6. The Test Menu · 7. Adding or Removing a Test

8. Special Considerations · 9. Process Effectiveness Indicators (KPI)

10. Accompanying Documentation · 11. Approval Sheet · References

# 1. Purpose

To formally define exactly which tests [ORGANIZATION NAME]'s laboratory performs in-house, at what CLIA complexity level, and which tests are sent to a reference laboratory — the single reference point every other laboratory SOP depends on [1–2].

# 2. Scope

This SOP governs the test menu itself. It does not govern how any individual test is performed — that is governed by the relevant technical SOP (SOP-LAB-01 through SOP-LAB-13).

# 3. Definitions and Abbreviations

•  Test menu — the formal, complete list of tests a laboratory is authorized and equipped to perform, at a defined complexity level, distinct from an informal or assumed list [1–2]

•  CLIA complexity — waived, moderate, or high complexity classification, which determines the personnel, QC, and competency requirements that apply to each test

# 4. General Provisions

Accurate scoping of the test menu and complexity level is the real starting point for the entire laboratory compliance program — every other requirement (personnel competency, QC frequency, method validation) is defined relative to what is on this list, not the other way around [1]. At inspection, the laboratory is required to produce validation reports for every assay on the test menu — an undocumented test on the menu is a real, direct inspection finding [3].

# 5. Distribution of Responsibilities

| Task | Director | Lab Lead | Medical Director | - |
| --- | --- | --- | --- | --- |
| Approval of this SOP | Final |  |  |  |
| Test menu maintenance |  | Responsible |  |  |
| Approval of any menu change |  |  | Responsible |  |
| Notifying accreditor of complexity/specialty change |  | Responsible | Agreed |  |

# 6. The Test Menu

[ORGANIZATION NAME]'s current test menu is maintained as a controlled document under GOV-04, listing every test by category, complexity, and location of performance.

| Category | Tests Offered | CLIA Complexity |
| --- | --- | --- |
| POCT | Glucose, urine dipstick, rapid antigen tests | Waived |
| Core chemistry/hematology | [per actual instrument capability] | Moderate |
| Microbiology | Gram stain, culture, AST (SOP-LAB-12) | Moderate/High |
| Molecular/PCR | [per actual assay panel] (SOP-LAB-13) | High |
| Send-out | Tests not performed in-house (SOP-LAB-06) | N/A — reference lab |

# 7. Adding or Removing a Test

Step 1.  A proposed new test is evaluated for real operational fit — complexity level, required personnel competency, equipment, and space — before any commitment is made

Step 2.  Method validation or verification (SOP-LAB-15) is completed and approved before the test is added to the active menu

Step 3.  Where the addition changes the laboratory's CLIA complexity or specialty classification, the accreditor is notified — this is a real, required trigger, not a courtesy [4]

Step 4.  The test menu document is updated under GOV-04's document control process, incrementing its edition

# 8. Special Considerations

•  A test performed only occasionally is still fully on the menu, with the same validation and competency requirements as a high-volume test — frequency of use does not reduce the requirement

•  The test menu is cross-referenced against SOP-LAB-06 (reference laboratory) to ensure every send-out test is genuinely covered by that relationship, with no gap

# 9. Process Effectiveness Indicators (KPI)

•  Test menu accuracy, verified during internal audit (GOV-02)

•  Every menu test with a current, retrievable validation report

# 10. Accompanying Documentation

| Code | Title |
| --- | --- |
| SOP-LAB-15 | Method Validation & Verification |
| GOV-04 | Document Control |

# 11. Approval Sheet

| Role | Date | Signature |
| --- | --- | --- |
| Prepared by: [LAB LEAD NAME] | ___________ | ___________ |
| Agreed by: [MEDICAL DIRECTOR NAME] | ___________ | ___________ |

References

[1] Accountable HQ. Clinical Laboratory Configuration Management: Best Practices for CLIA, CAP, and ISO 15189 Compliance. 2026.

[2] Lighthouse Lab Services. A Practical Guide to Building and Maintaining a Compliant CLIA Laboratory — test menu/complexity scoping. 2026.

[3] Tear Based Sample Collection (clinicaltrials.gov protocol). Validation process for an LDT — inspection requires validation reports for the test menu.

[4] Lighthouse Lab Services. A Practical Guide to Building and Maintaining a Compliant CLIA Laboratory — accreditor notification on complexity/specialty change. 2026.