ACCRÉDITATION SANS FRONTIÈRES · ISO 9001 READY

Laboratory Data Integrity

Standard Operating Procedure

Approved by Director, [ORGANIZATION NAME] [DIRECTOR NAME] ______________________ Date: __________

| Document Code | SOP-LAB-16-EN |
| --- | --- |
| Title | Laboratory Data Integrity |
| Edition | 1st Edition |
| Copy # | ___ |
| Effective Date | [EFFECTIVE DATE] |
| Next Review Date | [NEXT REVIEW DATE] |
| Organization | [ORGANIZATION NAME], Georgia |
| Language Pair | Full parallel version of SOP-LAB-16-KA — same content, not a summary |

# Table of Contents

1. Purpose · 2. Scope · 3. Definitions and Abbreviations

4. General Provisions · 5. Distribution of Responsibilities

6. Chain of Custody vs. Audit Trail · 7. The ALCOA Standard

8. Backup, Restore, and Downtime · 9. Special Considerations

10. Process Effectiveness Indicators (KPI) · 11. Accompanying Documentation

12. Approval Sheet · References

# 1. Purpose

To ensure every laboratory data record at [ORGANIZATION NAME] is attributable, traceable, and protected from undocumented alteration, wherever it is stored electronically [1–2].

# 2. Scope

This SOP applies to every electronic laboratory record at [ORGANIZATION NAME] — test results, QC data, instrument logs, and any laboratory information system (LIS) or equivalent electronic record-keeping tool.

# 3. Definitions and Abbreviations

•  Audit trail — a documented record of every data event associated with a record: entries, edits, access, and electronic signatures — genuinely distinct from chain of custody, which tracks the physical journey of a specimen [3]

•  ALCOA — the real, standard data integrity principle: data must be Attributable, Legible, Contemporaneous, Original, and Accurate [3]

# 4. General Provisions

A laboratory needs both a chain of custody and an audit trail — they are not interchangeable and one does not substitute for the other. Chain of custody documents who physically handled a specimen and where it was stored; an audit trail documents every data event in the information system — entries, edits, access, and signatures [3].

The real, practical risk most laboratories face is uncontrolled data entry, overwriting a value without an audit trail, and third-party systems storing laboratory data outside the laboratory's own controlled system — each of these genuinely undermines defensibility, not merely tidiness [4].

# 5. Distribution of Responsibilities

| Task | Director | Lab Lead | IT/Records Lead | Technologist |
| --- | --- | --- | --- | --- |
| Approval of this SOP | Final |  |  |  |
| Access control and audit trail configuration |  | Agreed | Responsible |  |
| Backup and downtime procedure testing |  |  | Responsible |  |
| Daily data entry practice |  |  |  | Responsible |
| Autoverification rule validation before release |  | Responsible |  |  |

# 6. Chain of Custody vs. Audit Trail

These govern genuinely different things, and a laboratory needs both, not one in place of the other [3]:

•  Chain of custody (governed by SOP-LAB-06) — the physical journey of a specimen: who handled it, where it was stored, how it was transferred

•  Audit trail (governed by this SOP) — every data event in the information system associated with that specimen's record: who entered a result, when, from what source, and whether it was later modified

# 7. The ALCOA Standard

| Attributable | Every entry traceable to the specific person who made it |
| --- | --- |
| Legible | Genuinely readable, not merely present in the system |
| Contemporaneous | Recorded at the time the activity occurred, not reconstructed afterward |
| Original | The first, source record — or a verified true copy, not a re-derived version |
| Accurate | A correct reflection of what actually happened |

Every material data point is genuinely traceable: who entered it, when, from what source, and whether it was modified — this is the real, practical test of whether an audit trail exists, not merely whether a log file is present somewhere [4].

# 8. Backup, Restore, and Downtime

Step 1.  Backup and restore procedures are documented and periodically tested — not assumed to work because a backup routine runs

Step 2.  A defined downtime procedure (manual/paper fallback) exists and staff are trained on it, consistent with CC-04's business continuity requirements

Step 3.  Where autoverification (automatic release of results meeting defined criteria) is used, the autoverification rules themselves are validated before any result is released under them — not enabled by default without real testing [1]

# 9. Special Considerations

•  Audit trails are retained for the lifetime of the record they document, not a shorter administrative period — and remain readily available for review, not archived in a format that is effectively inaccessible [3]

•  Access controls, roles, and electronic signatures for the LIS are documented and reviewed, consistent with HIPAA-equivalent protections for patient data [1, 3]

# 10. Process Effectiveness Indicators (KPI)

•  Backup restoration test success rate

•  Audit trail completeness, verified during internal audit (GOV-02)

•  Data entries traced to a specific individual and timestamp (target: 100%)

# 11. Accompanying Documentation

| Code | Title |
| --- | --- |
| SOP-LAB-06 | Reference Laboratory & Send-Out Testing |
| SOP-LAB-09 | Result Reporting, Verification & Amendment |
| CC-04 | Business Continuity |

# 12. Approval Sheet

| Role | Date | Signature |
| --- | --- | --- |
| Prepared by: [IT/RECORDS LEAD NAME] | ___________ | ___________ |
| Agreed by: [LAB LEAD NAME] | ___________ | ___________ |

References

[1] Accountable HQ. Clinical Laboratory Configuration Management — LIS access control, autoverification validation. 2026.

[2] Onymos. Laboratory Compliance: A 2026 Guide for Clinical Labs — traceability of every material data point.

[3] Freezerworks. Sample Management Audit Trails: A Compliance Guide — 21 CFR Part 11, ALCOA, chain-of-custody vs. audit-trail distinction. 2026.

[4] Onymos. Laboratory Compliance: A 2026 Guide for Clinical Labs — real practical risks: uncontrolled entry, overwriting, third-party systems.