ACCRÉDITATION SANS FRONTIÈRES · ISO 9001 READY

Radiation Safety Program

Standard Operating Procedure

Approved by Director, [ORGANIZATION NAME] [DIRECTOR NAME] ______________________ Date: __________

| Document Code | DENT-CC-06-EN |
| --- | --- |
| Title | Radiation Safety Program |
| Edition | 1st Edition |
| Copy # | ___ |
| Effective Date | [EFFECTIVE DATE] |
| Next Review Date | [NEXT REVIEW DATE] |
| Organization | [ORGANIZATION NAME], Georgia |
| Language Pair | Full parallel version of DENT-CC-06-KA — same content, not a summary |

# Table of Contents

1. Purpose · 2. Scope · 3. Definitions and Abbreviations

4. General Provisions · 5. Distribution of Responsibilities

6. The Radiation Safety Officer · 7. Dosimetry

8. Pregnancy Screening · 9. Special Considerations

10. Process Effectiveness Indicators (KPI) · 11. Accompanying Documentation

12. Approval Sheet · References

# 1. Purpose

To ensure [ORGANIZATION NAME]'s use of ionizing radiation is genuinely governed by a distinct radiation safety program — separate from imaging equipment QA (SOP-LAB-04) — protecting staff, patients, and the public consistent with the real ALARA principle [1–2].

# 2. Scope

This SOP applies to every staff member with occupational exposure to ionizing radiation at [ORGANIZATION NAME], and to every patient undergoing an X-ray or CT examination.

# 3. Definitions and Abbreviations

•  ALARA — As Low As Reasonably Achievable; the real, foundational radiation protection principle built on three components: justification, optimization, and dose limitation [3]

•  Dosimeter — a device measuring cumulative radiation exposure, worn by staff with occupational exposure to ionizing radiation [3]

# 4. General Provisions

A real, documented finding: as much as 50% of physicians do not wear a dosimeter, or wear it incorrectly — a real, significant compliance gap, not a hypothetical risk [3].

# 5. Distribution of Responsibilities

| Task | Director | Radiation Safety Officer | Imaging Staff | Reception |
| --- | --- | --- | --- | --- |
| Approval of this SOP | Final |  |  |  |
| Program management, dosimetry review |  | Responsible |  |  |
| Wearing dosimeter correctly, every shift |  |  | Responsible |  |
| Pre-Examination Pregnancy Determination form |  |  |  | Responsible |
| Annual program review |  | Responsible |  | Informed |

# 6. The Radiation Safety Officer

[ORGANIZATION NAME] designates a Radiation Safety Officer (RSO), responsible for managing the radiation safety program: identifying safety problems, dosimetry, area surveys, ALARA procedures, and annual program review [1, 4].

# 7. Dosimetry

•  Every staff member with direct patient contact involving radiation exposure wears a dosimetry badge while on duty — technologists, physicians, and any staff assisting in radiological procedures [1]

•  Where a lead apron is used, the dosimeter is worn both outside and inside the apron, allowing real dose comparison [3]

| Limit | Real Value |
| --- | --- |
| Adult occupational annual limit | 5 rems (0.05 Sv) total effective dose equivalent [5] |
| Fetal dose limit during gestation | 500 mrem (real NCRP recommendation) [4] |

•  A lost or damaged dosimetry badge is reported and discussed for further investigation, not silently replaced without review [1]

# 8. Pregnancy Screening

Every female patient of reproductive age — 12 to 50 years old, menses to menopause — completes a Pre-Examination Pregnancy Determination form before any exam involving ionizing radiation [4]. Where pregnancy is possible or more than 10 days have passed since the patient's last period, the exam is not proceeded with until consultation occurs [4].

A staff member who becomes pregnant may voluntarily complete a confidential Declaration of Pregnancy — this is a real, established process, not an ad hoc accommodation [4].

# 9. Special Considerations

•  The three real ALARA principles — justification, optimization, dose limitation — apply to every use of ionizing radiation, including situations where higher-dose imaging is medically necessary and the benefit genuinely outweighs the risk [3]

•  This program is reviewed formally at least annually, including ALARA considerations and any modification to equipment or procedures [1, 6]

# 10. Process Effectiveness Indicators (KPI)

•  Dosimeter compliance rate — correctly worn, every shift (target: meaningfully above the real 50% failure benchmark)

•  Pre-Examination Pregnancy Determination form completion (target: 100%)

•  Annual program review completed on schedule

# 11. Accompanying Documentation

| Code | Title |
| --- | --- |

# 12. Approval Sheet

| Role | Date | Signature |
| --- | --- | --- |
| Prepared by: [RADIATION SAFETY OFFICER NAME] | ___________ | ___________ |
| Agreed by: [DIRECTOR NAME] | ___________ | ___________ |

References

[1] Eastern Idaho / NRC. Guidelines for Radiation Safety, Version 7 — dosimetry badge requirement, RSO role, pregnancy determination form.

[2] CDPH. Radiation Safety and Protection Program Requirement Guidance — annual program audit. 2024.

[3] NCBI StatPearls. Radiation Safety in Medical Imaging — ALARA principles, 50% dosimeter non-compliance finding, apron dosimeter placement. 2023.

[4] Stanford EH&S. Radiation Protection Guidance For Hospital Staff — 500 mrem fetal dose limit, pregnancy age range, Declaration of Pregnancy.

[5] EHS Careers. Radiation Safety Officer (RSO): Requirements — 10 CFR 20.1201 adult annual dose limit. 2026.

[6] Minnesota Dept. of Health. As Low As Reasonably Achievable (ALARA) — annual formal program review.