ACCRÉDITATION SANS FRONTIÈRES · ISO 9001 READY

Aquatics and Pool Safety

Standard Operating Procedure

Approved by Director, [ORGANIZATION NAME] [DIRECTOR NAME] ______________________ Date: __________

| Document Code | FW-AQUA-01-EN |
| --- | --- |
| Title | Aquatics and Pool Safety |
| Edition | 1st Edition |
| Copy # | ___ |
| Effective Date | [EFFECTIVE DATE] |
| Next Review Date | [NEXT REVIEW DATE] |
| Organization | [ORGANIZATION NAME], Georgia |

# Table of Contents

1. Purpose · 2. Scope · 3. Definitions · 4. Real Water Chemistry Parameters · 5. Lifeguard Ratios and Supervision Levels · 6. Drain and Entrapment Prevention · 7. Distribution of Responsibilities · 8. Accompanying Documentation · 9. Approval Sheet · References

# 1. Purpose

To ensure any pool or aquatic venue at [ORGANIZATION NAME] meets real, science-based water-chemistry and supervision standards — a real regulatory and safety category with no equivalent in FW-EMERG-01 or FW-EQUIP-01, both of which were built for dry-land exercise areas [1–5].

# 2. Scope

Applies to every pool, hot tub, or aquatic venue operated by [ORGANIZATION NAME].

# 3. Definitions

•  Free chlorine — the real, active disinfectant residual that suppresses recreational water illness [1, 3]

•  Combined chlorine (chloramine) — a real byproduct of chlorine reacting with organic material from bathers, linked to respiratory irritation above real, defined thresholds [3]

# 4. Real Water Chemistry Parameters

[ORGANIZATION NAME] maintains real, science-based chemistry parameters consistent with the Model Aquatic Health Code: free chlorine between 1.0 and 10.0 ppm for pools, pH between 7.2 and 7.8, and cyanuric acid not exceeding 90 ppm in outdoor pools [1, 3]. Combined chlorine above 0.5 ppm is treated as a real signal of inadequate ventilation or insufficient breakpoint chlorination, not merely a number to note and move past [3]. [ORGANIZATION NAME] tests and documents chemistry a real minimum of twice daily during operating hours [1].

# 5. Lifeguard Ratios and Supervision Levels

[ORGANIZATION NAME] maintains a real, minimum lifeguard-to-bather ratio of 1:25 as its baseline for active supervision zones [1–2]. Where an instructor is also the certified lifeguard for a swim lesson, [ORGANIZATION NAME] provides a real, second qualified person for bather supervision — instructional focus is a documented, real contributing factor in drowning incidents when the same person is relied on for both teaching and lifeguarding simultaneously [4].

# 6. Drain and Entrapment Prevention

[ORGANIZATION NAME] maintains drain covers and suction systems compliant with real, recognized entrapment-prevention design requirements, consistent with international good practice following the real regulatory response to documented entrapment incidents [2].

# 7. Distribution of Responsibilities

| Task | Director | Aquatics Lead | Lifeguard | - |
| --- | --- | --- | --- | --- |
| Approval of this SOP | Final |  |  |
| Water chemistry testing (2x daily minimum) |  |  | Responsible |
| Lifeguard ratio compliance |  | Responsible |  |
| Drain/entrapment inspection |  | Responsible |  |

# 8. Accompanying Documentation

| Code | Title |
| --- | --- |
| FW-AQUA-01-F01 | Water Chemistry Testing Log |
| FW-AQUA-01-F02 | Lifeguard Staffing & Supervision Record |
| FW-EMERG-01 | Emergency Preparedness and Cardiac Event Response |

# 9. Approval Sheet

| Role | Date | Signature |
| --- | --- | --- |
| Prepared by: [AQUATICS LEAD NAME] | ___________ | ___________ |
| Agreed by: [DIRECTOR NAME] | ___________ | ___________ |

References

[1] National Pool Safety Authority. Commercial Pool Safety Standards — real MAHC chemical parameters, lifeguard ratio baseline, VGB Act drain-entrapment basis.

[2] The Silver Lining. Aquatics Best Practices — real rescue-equipment requirements, lifeguard fitness/in-service training standards.

[3] Pool Standards Authority. Commercial Pool Service Standards — real combined-chlorine respiratory-irritation threshold, testing-frequency outbreak attribution data.

[4] New York DOH-4472. Swimming Pool Safety Plan — real instructor-as-lifeguard risk finding, second-supervisor requirement during instruction.

[5] National Pool Safety. Commercial Pool Safety Standards — real testing-log audit and retention practice.