ACCRÉDITATION SANS FRONTIÈRES · ISO 9001 READY

Electrical Safety & Backup Power

Standard Operating Procedure

Approved by Director, [ORGANIZATION NAME] [DIRECTOR NAME] ______________________ Date: __________

| Document Code | FW-CC-12-EN |
| --- | --- |
| Title | Electrical Safety & Backup Power |
| Edition | 1st Edition |
| Copy # | ___ |
| Effective Date | [EFFECTIVE DATE] |
| Next Review Date | [NEXT REVIEW DATE] |
| Organization | [ORGANIZATION NAME], Georgia |

# Table of Contents

1. Purpose · 2. Scope · 3. Definitions · 4. General Provisions · 5. Backup Power Requirements · 6. Testing Schedule · 7. Special Considerations · 8. KPIs

# 1. Purpose

To ensure [ORGANIZATION NAME]'s electrical systems and backup power are genuinely reliable, distinct from FW-CC-08's fire-specific evacuation focus — a utility failure without fire is a real, separate risk with its own real requirements.

# 2. Scope

This SOP applies to the facility's electrical infrastructure and backup/emergency power systems supporting critical equipment.

# 3. Definitions

•  Critical load — equipment that cannot tolerate a power interruption without real member safety consequence: dialysis machines, refrigeration for medications/vaccines (PED-04), laboratory equipment requiring continuous operation (SOP-LAB-07)

# 4. General Provisions

A genuine risk this SOP addresses directly: a power failure during an active dialysis session or chemotherapy infusion is a real, time-critical safety event, not merely an inconvenience to be resolved when convenient.

# 5. Backup Power Requirements

•  Backup power (generator or equivalent) covers every real critical load identified in Section 3, not only lighting and general facility function

•  The transition from mains power to backup power is genuinely automatic or rapid enough that a critical load (e.g., an active dialysis session) is not interrupted in a way that causes harm

•  Vaccine and medication refrigeration (PED-04) is on the backup power circuit, with the real cold-chain temperature log continuing without a gap during a power event

# 6. Testing Schedule

Step 1.  Backup power system is tested on a real, defined schedule under load, not merely started and immediately stopped

Step 2.  Test results, including genuine failures found during testing, are documented — a test that reveals nothing wrong every single time is itself worth real scrutiny, not simply recorded as a pass

Step 3.  Any deficiency found during testing is corrected and the fix verified before the next scheduled test, not carried forward unaddressed

# 7. Special Considerations

•  Staff know the real, specific procedure for a power event during an active clinical procedure — not only the general evacuation plan under FW-CC-08, which addresses a different scenario

# 8. Distribution of Responsibilities

| Task | Director | Facility/Maintenance Lead | Dialysis Lead | Clinical Staff |
| --- | --- | --- | --- | --- |
| Approval of this SOP | Final |  |  |  |
| Backup power testing and maintenance |  | Responsible |  |  |
| Critical-load identification and review |  |  | Responsible |  |
| Following the power-event procedure during an active session |  |  |  | Responsible |

# 9. Accompanying Documentation

| Code | Title |
| --- | --- |
| FW-CC-08 | General Facility & Fire Safety |

# 10. Approval Sheet

| Role | Date | Signature |
| --- | --- | --- |
| Prepared by: [FACILITY/MAINTENANCE LEAD NAME] | ___________ | ___________ |
| Agreed by: [DIRECTOR NAME] | ___________ | ___________ |

References

[1] Real, standard healthcare facility electrical safety and emergency power principle, consistent with NFPA 99 Health Care Facilities Code emergency power system provisions referenced alongside FW-CC-08's fire safety citations.