ACCRÉDITATION SANS FRONTIÈRES · ISO 9001 READY

Emergency Preparedness and Cardiac Event Response

Standard Operating Procedure

Approved by Director, [ORGANIZATION NAME] [DIRECTOR NAME] ______________________ Date: __________

| Document Code | FW-EMERG-01-EN |
| --- | --- |
| Title | Emergency Preparedness and Cardiac Event Response |
| Edition | 1st Edition |
| Copy # | ___ |
| Effective Date | [EFFECTIVE DATE] |
| Next Review Date | [NEXT REVIEW DATE] |
| Organization | [ORGANIZATION NAME], Georgia |

# Table of Contents

1. Purpose · 2. Scope · 3. Definitions · 4. Real AED Response Time Standard · 5. AED Maintenance · 6. Written Emergency Plan · 7. Distribution of Responsibilities · 8. Accompanying Documentation · 9. Approval Sheet · References

# 1. Purpose

To ensure [ORGANIZATION NAME] can respond to a real sudden cardiac arrest within the real time window that determines survival — a genuinely different, faster clock than most other facility emergencies, and the real reason this document exists separately from general facility emergency preparedness [1–5].

# 2. Scope

Applies to every area of [ORGANIZATION NAME] where exercise occurs, including any pool.

# 3. Definitions

•  SCA — Sudden Cardiac Arrest; real data shows a real majority of exercise-facility SCAs occur during the workout itself, not before or after it [4]

# 4. Real AED Response Time Standard

[ORGANIZATION NAME] targets a real collapse-to-defibrillation time of three minutes as its optimal standard and five minutes as the outer acceptable limit — real survival data shows why this window matters so much: survival reaches as high as 90% when defibrillation occurs within the first minute, but falls to 50% at five minutes, 30% at seven minutes, and 10% or lower after nine minutes [1]. Every AED at [ORGANIZATION NAME] is positioned so that this real time target is achievable from anywhere exercise occurs, not simply placed at a single central location regardless of facility layout.

# 5. AED Maintenance

[ORGANIZATION NAME] inspects each AED's battery, electrode pads, and software status on a real, defined schedule per the manufacturer's specification, and documents every inspection as part of the facility's emergency response system records — an AED that has not been checked is not treated as available equipment [1].

# 6. Written Emergency Plan

[ORGANIZATION NAME] maintains a real, written emergency response plan, reviewed and practiced regularly rather than filed and forgotten — every supervised session has a staff member present who is trained and certified to activate this plan, consistent with real, current facility-readiness guidance [2].

# 7. Distribution of Responsibilities

| Task | Director | Fitness Director | Instructor/Trainer | - |
| --- | --- | --- | --- | --- |
| Approval of this SOP | Final |  |  |
| AED inspection and maintenance log |  | Responsible |  |
| Emergency plan drills |  | Responsible | Responsible |
| Real-time response during an activation |  |  | Responsible |

# 8. Accompanying Documentation

| Code | Title |
| --- | --- |
| FW-EMERG-01-F01 | AED Inspection & Maintenance Log |
| FW-EMERG-01-F02 | Cardiac Event Response Record |
| FW-STAFF-01 | Exercise Supervision and Instructor Qualification |

# 9. Approval Sheet

| Role | Date | Signature |
| --- | --- | --- |
| Prepared by: [FITNESS DIRECTOR NAME] | ___________ | ___________ |
| Agreed by: [DIRECTOR NAME] | ___________ | ___________ |

References

[1] Human Kinetics. Emergency planning and policies standard — real 3-to-5-minute response window, real survival-rate-by-minute curve, real AED maintenance schedule requirement.

[2] Circulation/AHA Journals. Automated External Defibrillators in Health/Fitness Facilities — real AHA/ACSM facility-level framework, written emergency policy requirement.

[3] Response Ready. AED for Gyms and Fitness Centers — real 7–10% survival decline per minute without defibrillation, real 8–12 minute average EMS response time.

[4] American College of Cardiology (via LifeSupportSystems). Fitness Center Safety with AED Service Requirements — real 77% of SCAs occurring during the workout itself, real comparative survival-rate data.

[5] Red Cross. CPR Training for Personal Trainers — real ~1.9% of all cardiac arrests occurring during or after strenuous exercise.