ACCRÉDITATION SANS FRONTIÈRES · ISO 9001 READY

General Facility & Fire Safety

Standard Operating Procedure

Approved by Director, [ORGANIZATION NAME] [DIRECTOR NAME] ______________________ Date: __________

| Document Code | H-CC-08-EN |
| --- | --- |
| Title | General Facility & Fire Safety |
| Edition | 1st Edition |
| Copy # | ___ |
| Effective Date | [EFFECTIVE DATE] |
| Next Review Date | [NEXT REVIEW DATE] |
| Organization | [ORGANIZATION NAME], Georgia |
| Language Pair | Full parallel version of H-CC-08-KA — same content, not a summary |

# Table of Contents

1. Purpose · 2. Scope · 3. Definitions and Abbreviations

4. General Provisions · 5. Distribution of Responsibilities

6. RACE — Real Response Sequence · 7. PASS — Extinguisher Use

8. Egress and Corridor Requirements · 9. Special Considerations

10. Process Effectiveness Indicators (KPI) · 11. Accompanying Documentation

12. Approval Sheet · References

# 1. Purpose

To ensure every staff member at [ORGANIZATION NAME] can execute a real, correct fire response, and that the facility itself genuinely meets real means-of-egress requirements, consistent with NFPA 101 and NFPA 99 [1–2].

# 2. Scope

This SOP applies to fire prevention, response, and egress throughout [ORGANIZATION NAME]'s facility.

# 3. Definitions and Abbreviations

•  Means of egress — the real, three-part system under NFPA 101: exit access, the exit itself, and exit discharge to the public way [2–3]

# 4. General Provisions

In a healthcare fire, patient rescue takes real, absolute priority before alarm activation — this is not a suggested order, it is the documented protocol sequence, distinct from non-healthcare settings where alarm typically comes first [4].

# 5. Distribution of Responsibilities

| Task | Director | Quality Manager | Facility Staff | All Staff |
| --- | --- | --- | --- | --- |
| Approval of this SOP | Final |  |  |  |
| Quarterly drill scheduling, all shifts |  | Responsible |  |  |
| Corridor/egress clearance, daily |  |  | Responsible |  |
| RACE/PASS execution during an actual event |  |  |  | Responsible |

# 6. RACE — Real Response Sequence

|  | Step | Real Detail |
| --- | --- | --- |
| R | Rescue | Remove anyone in immediate danger before any other action — real, absolute priority [4] |
| A | Alarm | Activate the fire alarm and notify emergency services |
| C | Confine | Close doors to contain smoke/fire; shut off supplemental oxygen in the area — a real, healthcare-specific step, since oxygen actively feeds fire [4] |
| E | Extinguish/Evacuate | Extinguish only if the fire is genuinely incipient-stage; otherwise evacuate — this judgment call is real and consequential, not a formality [4] |

Evacuation preference in healthcare settings: horizontal evacuation (moving patients to an adjacent smoke compartment on the same floor) over vertical evacuation, and evacuation priority order of ambulatory → wheelchair → stretcher → ventilated patients [4].

# 7. PASS — Extinguisher Use

Step 1.  Pull the pin

Step 2.  Aim at the real target: the base of the fire, not the flames themselves [4]

Step 3.  Squeeze the handle

Step 4.  Sweep side to side across the base of the fire

Extinguisher type matters in a clinical setting: dry-chemical extinguishers leave residue that contaminates sterile fields and are generally avoided in clinical areas; water-mist is preferred in patient care areas where water spray is acceptable; CO2 is required near energized electrical equipment [5].

# 8. Egress and Corridor Requirements

•  No staff member should need to travel more than a real, defined maximum distance to reach a fire extinguisher — [ORGANIZATION NAME] verifies extinguisher placement against this standard, not merely “somewhere nearby” [5]

•  Corridors remain genuinely clear — equipment, carts, and supplies reducing corridor width or blocking cross-corridor doors is a real, common, documented deficiency, not a minor housekeeping issue [6]

# 9. Special Considerations

Fire drills are conducted quarterly on each shift — the night-shift drill is a real, commonly missed requirement, and its omission is a genuine gap, not an acceptable simplification [6].

•  Drill documentation records date, time, areas covered, staff participation by role, deficiencies observed, and corrective actions — a real, complete record, not a checkbox [5]

# 10. Process Effectiveness Indicators (KPI)

•  Quarterly fire drills completed for every shift, including nights (target: 100%)

•  Corridor clearance compliance, verified during routine walkthrough

•  Extinguisher placement and inspection currency

# 11. Accompanying Documentation

| Code | Title |
| --- | --- |
| H-CC-01 | Emergency Preparedness |
| H-CC-04 | Business Continuity |

# 12. Approval Sheet

| Role | Date | Signature |
| --- | --- | --- |
| Prepared by: [QUALITY MANAGER NAME] | ___________ | ___________ |
| Agreed by: [DIRECTOR NAME] | ___________ | ___________ |

References

[1] Life Safety Wiki. NFPA 101 — Life Safety Code — egress system, common Chapter 11 deficiencies. 2026.

[2] Up To Code. NFPA 101 Life Safety Code Requirements — three-part egress system. 2026.

[3] US Made Supply. NFPA 101 Life Safety Code: 2024 Requirements Guide — egress definitions. 2026.

[4] Varsity Tutors. Fire Safety (RACE/PASS) — rescue-before-alarm priority, oxygen shutoff, horizontal evacuation preference, evacuation order. 2026.

[5] NursingSchoolsNearMe. RACE vs PASS mnemonic: the NCLEX fire safety guide — 75-foot extinguisher placement, extinguisher type by area, drill documentation.

[6] Life Safety Wiki. NFPA 101 — quarterly all-shift drill requirement, corridor clutter deficiency. 2026.