ACCRÉDITATION SANS FRONTIÈRES · ISO 9001 READY

Central Sterile Supply Department (CSSD) — Hospital-Scale Instrument Traceability

Standard Operating Procedure

Approved by Director, [ORGANIZATION NAME] [DIRECTOR NAME] ______________________ Date: __________

| Document Code | H-CSSD-01-EN |
| --- | --- |
| Title | Central Sterile Supply Department (CSSD) — Hospital-Scale Instrument Traceability |
| Edition | 1st Edition |
| Copy # | ___ |
| Effective Date | [EFFECTIVE DATE] |
| Next Review Date | [NEXT REVIEW DATE] |
| Organization | [ORGANIZATION NAME], Georgia |

# Table of Contents

1. Purpose · 2. Scope · 3. Definitions · 4. Real Scale Difference from H-STR-01 · 5. Full Traceability Requirement · 6. Distribution of Responsibilities · 7. Accompanying Documentation · 8. Approval Sheet · References

# 1. Purpose

To ensure [ORGANIZATION NAME]'s Central Sterile Supply Department (CSSD) tracks every reusable instrument through its full reprocessing cycle at real hospital scale — hundreds of trays daily across every surgical and procedural area, not the single-clinic volume H-STR-01 was built for.

# 2. Scope

Applies to every reusable instrument reprocessed by [ORGANIZATION NAME]'s CSSD, serving the operating theatre (H-SURG-01), procedural areas, and inpatient units.

# 3. Definitions

•  Full traceability — the real ability to link a specific instrument tray, on a specific patient, to the specific sterilization cycle, load, and biological indicator result that processed it

# 4. Real Scale Difference from H-STR-01

H-STR-01's decontamination, cleaning, and sterilization principles remain fully applicable and are not repeated here. What genuinely differs at hospital scale is volume and traceability: a hospital CSSD processes real volumes that make manual, tray-by-tray paper logging impractical and error-prone — [ORGANIZATION NAME] uses a real tracking system (barcode or RFID-based) capable of linking every tray to its patient, cycle, and biological indicator result.

# 5. Full Traceability Requirement

If a biological indicator failure is discovered after instruments from that load have already been used on patients, [ORGANIZATION NAME]'s CSSD tracking system must be able to identify every affected patient within the load — a real recall capability, not a theoretical one. A system that cannot answer “which patients received instruments from this specific failed cycle” within minutes is not meeting the real intent of hospital-scale traceability.

Every sterilization cycle records date, run number, load number, and contents — consistent with real sterile-processing documentation practice, linked to the same patient-level tracking used for chemotherapy verification (ONC-06) and blood product administration (H-BB-01).

# 6. Distribution of Responsibilities

| Task | Director | CSSD Manager | Sterile Processing Technician | - |
| --- | --- | --- | --- | --- |
| Approval of this SOP | Final |  |  |
| Tracking system maintenance |  | Responsible |  |
| Load documentation and BI reading |  |  | Responsible |

# 7. Accompanying Documentation

| Code | Title |
| --- | --- |
| H-CSSD-01-F01 | CSSD Load Traceability Record |
| H-STR-01 | Instrument Reprocessing & Sterilization |
| H-SURG-01 | Surgical Safety Checklist |

# 8. Approval Sheet

| Role | Date | Signature |
| --- | --- | --- |
| Prepared by: [MEDICAL DIRECTOR NAME] | ___________ | ___________ |
| Agreed by: [DIRECTOR NAME] | ___________ | ___________ |

References

[1] Real sterile-processing industry practice for hospital-scale CSSD traceability, consistent with the sterilization cycle documentation principles referenced in USP 797 Section 10.3–10.4 for the equivalent pharmaceutical sterilization context.