ACCRÉDITATION SANS FRONTIÈRES · ISO 9001 READY

Reference Laboratory & Send-Out Testing

Standard Operating Procedure

Approved by Director, [ORGANIZATION NAME] [DIRECTOR NAME] ______________________ Date: __________

| Document Code | H-LAB-06-EN |
| --- | --- |
| Title | Reference Laboratory & Send-Out Testing |
| Edition | 1st Edition |
| Copy # | ___ |
| Effective Date | [EFFECTIVE DATE] |
| Next Review Date | [NEXT REVIEW DATE] |
| Organization | [ORGANIZATION NAME], Georgia |
| Language Pair | Full parallel version of H-LAB-06-KA — same content, not a summary |

# Table of Contents

1. Purpose · 2. Scope · 3. Definitions and Abbreviations

4. General Provisions · 5. Distribution of Responsibilities

6. Packaging and Transport · 7. Chain of Custody

8. Reference Laboratory as Critical Supplier · 9. Special Considerations

10. Process Effectiveness Indicators (KPI) · 11. Accompanying Documentation

12. Approval Sheet · References

# 1. Purpose

To ensure every specimen sent from [ORGANIZATION NAME] to a reference laboratory arrives with its integrity intact and its chain of custody fully documented, so the result returned is defensible and usable for patient care [1–2].

# 2. Scope

This SOP applies to every test [ORGANIZATION NAME] does not perform in-house — including microbiology cultures and molecular/PCR panels sent to a reference laboratory — from the moment a specimen leaves this facility until the result is received back.

# 3. Definitions and Abbreviations

•  Chain of custody — a documented, unbroken record of who had possession of a specimen at every point from collection to final analysis — without it, a result is real but indefensible [3–5]

•  Triple packaging — the real IATA/DOT-required system for diagnostic specimen transport: a primary receptacle, a secondary leak-proof container with absorbent material, and an outer packaging [6]

# 4. General Provisions

A contested or clinically significant result — in oncology, infectious disease, or toxicology — may require documented proof the specimen was handled correctly throughout its entire journey; without that proof, the result itself becomes indefensible, regardless of the reference laboratory's own analytical quality [5].

# 5. Distribution of Responsibilities

| Task | Director | Lab Lead | Nursing Staff | Courier/Reference Lab |
| --- | --- | --- | --- | --- |
| Approval of this SOP | Final |  |  |  |
| Packaging and labeling for send-out |  | Agreed | Responsible |  |
| Chain of custody documentation |  | Responsible | Responsible |  |
| Courier performance review |  | Responsible |  |  |
| Timely, verified specimen transport |  |  |  | Responsible |

# 6. Packaging and Transport

Every send-out specimen is packaged per the real, required triple-packaging system: a primary receptacle, a secondary leak-proof container with absorbent material sufficient to contain the entire volume in case of leakage, and a rigid outer packaging — not a single bag or envelope [6].

| Specimen Type | Transport Temp | Note |
| --- | --- | --- |
| Whole blood, CBC | 2°C–8°C | Standard refrigerated transport [7] |
| Coagulation specimens | 18°C–25°C (ambient) | Refrigeration degrades clotting factor activity — do not cool [7] |
| Molecular/PCR specimens | Dry ice, –70°C or below, where specified | Confirm the reference lab's specific requirement per test — not all molecular tests require this [7] |
| Microbiology culture specimens | Per reference lab protocol, typically ambient | Never frozen unless specifically directed — freezing can kill the organisms a culture is meant to grow |

Temperature at receipt is a real, documented quality checkpoint — a specimen arriving outside its required range compromises the defensibility of the result that follows, however good the reference laboratory's own analytical work [7].

# 7. Chain of Custody

Step 1.  Complete a chain of custody record at collection: specimen identification, collection date and time, collector's name

Step 2.  Document every handoff — to courier, at receipt by the reference laboratory — with date, time, and the receiving party's identity [3–4]

Step 3.  The reference laboratory documents specimen condition and temperature at receipt, and this documentation is retained and available on request [7]

Step 4.  Adhere strictly to the defined holding time from collection to analysis for each test type — exceeding it renders the result non-compliant, not merely delayed [4]

# 8. Reference Laboratory as Critical Supplier

The reference laboratory and any courier used for specimen transport are Critical Suppliers under the Supplier Evaluation SOP (H-CC-02) — evaluated and monitored under that framework, not managed as a separate, informal arrangement.

•  Courier performance is reviewed at least quarterly, covering: on-time performance for urgent/STAT runs (measured, not estimated), temperature log review for cold-chain runs, transport-related specimen rejection rate, and documented resolution of any incidents [8]

# 9. Special Considerations

•  A specimen rejected by the reference laboratory on arrival (temperature excursion, damaged packaging, holding time exceeded) is handled under the Specimen Rejection SOP (H-LAB-03), and the pattern reviewed for whether it reflects a real transport or courier issue

•  The reference laboratory's own accreditation status (e.g., ISO 15189) is verified and kept current in its supplier file, consistent with H-CC-02

# 10. Process Effectiveness Indicators (KPI)

•  Chain of custody documentation completeness (target: 100%, every send-out specimen)

•  Send-out specimen rejection rate due to transport issues

•  Holding time compliance for time-sensitive send-out tests

# 11. Accompanying Documentation

| Code | Title |
| --- | --- |
| H-LAB-01 | Specimen Collection |
| H-LAB-03 | Specimen Rejection Criteria |
| H-CC-02 | Supplier Evaluation |

# 12. Approval Sheet

| Role | Date | Signature |
| --- | --- | --- |
| Prepared by: [LAB LEAD NAME] | ___________ | ___________ |
| Agreed by: [QUALITY MANAGER NAME] | ___________ | ___________ |

References

[1] Sapio Sciences. Initiating a Chain of Custody Program in the Laboratory. 2025.

[2] Lab Manager. Ensuring Sample Validity: A Comprehensive Guide to Field-to-Lab Chain-of-Custody. 2025.

[3] Apollo Couriers. Laboratory Specimen Transport Guidelines. 2024.

[4] 10 CFR § 26.159. Assuring specimen security, chain of custody, and preservation — holding time principle.

[5] carGO Health. Chain of Custody in Medical Specimen Transport: A Complete Guide — result defensibility. 2026.

[6] Red Fox Medical Courier. Laboratory Specimen Transport: Medical Courier Compliance — IATA P650 triple-packaging, courier review. 2026.

[7] Courier Authority. Blood and Specimen Transport: Chain of Custody and Handling Standards — temperature ranges by specimen type.

[8] Red Fox Medical Courier. Laboratory Specimen Transport Compliance Guide — quarterly courier review elements. 2026.