ACCRÉDITATION SANS FRONTIÈRES · ISO 9001 READY

Central Venous Access Device (Port) Care

Standard Operating Procedure

Approved by Director, [ORGANIZATION NAME] [DIRECTOR NAME] ______________________ Date: __________

| Document Code | H-ONC-07-EN |
| --- | --- |
| Title | Central Venous Access Device (Port) Care |
| Edition | 1st Edition |
| Copy # | ___ |
| Effective Date | [EFFECTIVE DATE] |
| Next Review Date | [NEXT REVIEW DATE] |
| Organization | [ORGANIZATION NAME], Georgia |
| Language Pair | Full parallel version of H-ONC-07-KA — same content, not a summary |

# Table of Contents

1. Purpose · 2. Scope · 3. Definitions and Abbreviations

4. General Provisions · 5. Distribution of Responsibilities

6. Accessing the Port · 7. Air Embolism Prevention — The Real Sequence

8. Flushing and Locking · 9. Special Considerations

10. Process Effectiveness Indicators (KPI) · 11. Accompanying Documentation

12. Approval Sheet · References

# 1. Purpose

To ensure every implanted port at [ORGANIZATION NAME] is accessed, flushed, and maintained using real, evidence-based technique that genuinely prevents infection, occlusion, and air embolism [1–2].

# 2. Scope

This SOP applies to every central venous access device (implanted port) accessed at [ORGANIZATION NAME], distinct from H-DIAL-01's dialysis-specific vascular access.

# 3. Definitions and Abbreviations

•  IVAD — Implanted Venous Access Device; requires proper aseptic technique before palpating, accessing, or performing dressing changes, per real CDC recommendations [1]

# 4. General Provisions

Aseptic non-touch technique requires meticulous hand hygiene and a single-use or disinfected surface for supply placement to provide a genuinely controlled workspace — not merely a clean-looking one [1].

# 5. Distribution of Responsibilities

| Task | Director | Oncology Lead | Nurse | - |
| --- | --- | --- | --- | --- |
| Approval of this SOP | Final |  |  |  |
| Port site assessment and access |  |  | Responsible |  |
| Flushing/locking per Section 8 |  |  | Responsible |  |
| Maintenance-flush schedule tracking |  | Responsible |  |  |

# 6. Accessing the Port

Step 1.  Inspect the port site for swelling, redness, or unusual pain before accessing; address any finding before proceeding [3]

Step 2.  Use only a single-use, non-coring needle, inserted perpendicular to the septum until it contacts the bottom of the infusion chamber — never rocked or tilted once engaged [3]

Step 3.  Flush with normal saline using a push-pause technique to confirm patency and aspirate for blood return before use [4]

# 7. Air Embolism Prevention — The Real Sequence

The real, correct sequence to prevent air embolism after accessing: flush the extension tubing with normal saline first, then clamp the tubing before removing the syringe — clamping prevents air from entering the device, and this step is never skipped or reordered [5].

# 8. Flushing and Locking

•  Ports in active use (minimum every 8 hours): flush with 10 mL 0.9% normal saline after each medication or blood infusion, or at least every 24 hours per manufacturer recommendation [1]

•  Ports not in use: flushed at minimum every 4 weeks to maintain patency — some manufacturer protocols specify longer intervals, but [ORGANIZATION NAME] applies the more conservative 4-week standard absent a documented manufacturer exception [6]

•  Locking: positive pressure is maintained during injection of the final 0.5 mL of flush volume while withdrawing the syringe [1]

Heparin flushing carries a real, documented risk of heparin-induced thrombocytopenia (HIT) — saline-only maintenance approaches are increasingly studied and used specifically to reduce this exposure; [ORGANIZATION NAME] follows its manufacturer's specific guidance on heparin versus saline-only locking [7].

# 9. Special Considerations

•  A transparent semipermeable dressing is applied over the access site and dated per SOP, changed according to facility protocol — not left in place indefinitely [8]

•  Between sequential administration of different drugs through the same port, the line is flushed with saline to clear the prior drug before the next is given [3]

# 10. Process Effectiveness Indicators (KPI)

•  Maintenance flush schedule adherence for ports not in active use (target: 100% within the 4-week interval)

•  Air embolism prevention sequence followed correctly, verified during competency assessment

•  Port-related infection or occlusion events, tracked as a real quality indicator

# 11. Accompanying Documentation

| Code | Title |
| --- | --- |
| H-ONC-05 | Neutropenic Fever Protocol |
| H-IPC-08 | Sharps Safety |

# 12. Approval Sheet

| Role | Date | Signature |
| --- | --- | --- |
| Prepared by: [ONCOLOGY LEAD NAME] | ___________ | ___________ |
| Agreed by: [MEDICAL DIRECTOR NAME] | ___________ | ___________ |

References

[1] NCBI Bookshelf. Nursing Advanced Skills, Chapter 4 — Manage Central Lines — ANTT, CDC aseptic technique, flushing consensus. 2023.

[2] NCBI Bookshelf. Nursing Advanced Skills, 4.3 Applying the Nursing Process — IVAD flushing/locking technique.

[3] USPTO patent (Port stabilizer ring). Port site inspection, non-coring needle technique, sequential-drug flushing.

[4] SimpleNursing. How to Access a Port: Step-by-Step Guide — push-pause saline flush technique. 2026.

[5] Quizlet (Nursing CVAD reference). Air embolism prevention clamping sequence.

[6] USPTO patent (Port stabilizer ring). Minimum 4-week maintenance flush interval.

[7] ClinicalTrials.gov (Safety of Catheter Lock With or Without Heparin). Heparin-induced thrombocytopenia risk, saline-only alternatives.

[8] NCBI Bookshelf. Nursing Advanced Skills, Chapter 4 — dressing application and dating.