ACCRÉDITATION SANS FRONTIÈRES · ISO 9001 READY

Control of Monitoring and Measuring Equipment

Standard Operating Procedure

Approved by Director, [ORGANIZATION NAME] [DIRECTOR NAME] ______________________ Date: __________

| Document Code | H-QMS-08-EN |
| --- | --- |
| Title | Control of Monitoring and Measuring Equipment |
| Edition | 1st Edition |
| Copy # | ___ |
| Effective Date | [EFFECTIVE DATE] |
| Next Review Date | [NEXT REVIEW DATE] |
| Organization | [ORGANIZATION NAME], Georgia |

# Table of Contents

1. Purpose · 2. Scope · 3. Inventory and Calibration Schedule · 4. Out-of-Calibration Handling · 5. Distribution of Responsibilities · 6. Accompanying Documentation · 7. Approval Sheet · References

# 1. Purpose

To ensure clinical and measuring equipment at [ORGANIZATION NAME] produces reliable results, consistent with ISO 9001:2015 Clause 7.1.5 [1].

# 2. Scope

Applies to blood pressure monitors, scales, thermometers, ECG machines, glucometers, autoclaves, and clinical refrigerators/freezers. Laboratory analysers are governed separately by H-LAB-07; this procedure covers every other piece of clinical measuring equipment.

# 3. Inventory and Calibration Schedule

Every item is logged in H-QMS-08-F01 with a calibration/verification interval set per manufacturer recommendation, and traceable to a real, named calibration standard where applicable [1].

•  Equipment is uniquely identified (asset tag or serial number)

•  Calibration status is visible at the point of use (a real, current label, not just a database entry)

# 4. Out-of-Calibration Handling

If equipment is found out of calibration, [ORGANIZATION NAME] assesses whether prior results obtained using it were affected — a real, documented evaluation on H-QMS-08-F02, not simply a note that the equipment was recalibrated. This is a genuine Clause 7.1.5 requirement most small organizations miss [1].

# 5. Distribution of Responsibilities

| Task | Director | Quality Manager | Facility/Maintenance Lead | - |
| --- | --- | --- | --- | --- |
| Approval of this procedure | Final |  |  |
| Calibration schedule maintenance |  |  | Responsible |
| Out-of-calibration investigation |  | Responsible | Responsible |

# 6. Accompanying Documentation

| Code | Title |
| --- | --- |
| H-QMS-08-F01 | Equipment Inventory and Calibration Register |
| H-QMS-08-F02 | Out-of-Calibration Report |
| H-LAB-07 | Laboratory Equipment Calibration & Maintenance |

# 7. Approval Sheet

| Role | Date | Signature |
| --- | --- | --- |
| Prepared by: [FACILITY/MAINTENANCE LEAD NAME] | ___________ | ___________ |
| Agreed by: [DIRECTOR NAME] | ___________ | ___________ |

References

[1] ISO 9001:2015. Quality management systems — Requirements. Clause 7.1.5, Monitoring and measuring resources.